## Slide 1: Biochip Array Technology (BAT)
Principles, Benefits, and Comparison with Other Detection Technologies

## Slide 2: Introduction to Biochip Array Technology
• Proprietary multiplex immunoassay system developed by Randox
• Uses solid-phase biochips with discrete test regions (DTRs)
• Enables simultaneous detection of multiple analytes from a single sample
• Applications: clinical diagnostics, toxicology, immunology, and biomarker research

## Slide 3: How Biochip Array Technology Works
• Sample applied to biochip containing immobilized capture reagents
• Multiple discrete test regions bind to specific analytes
• Detection via chemiluminescence imaging system
• Results generated as a multiplexed profile in a single run

## Slide 4: Benefits of Multiplexing with Biochip
• Multi-analyte results from a single sample
• Reduces sample volume and conserves precious specimens
• Saves time and cost vs. multiple single-analyte assays
• Consistent assay conditions improve reproducibility
• Retrospective testing and easy panel expansion

## Slide 5: Comparison with Other Detection Technologies
• ELISA: Reliable but single-analyte; biochip more efficient for multi-analyte testing
• Luminex/Bead-based arrays: High theoretical plex but more complex workflow
• PCR/NGS: Ideal for nucleic acids, not proteins; biochip superior for proteins/antibodies
• Biochip balances multiplexing efficiency with validated clinical use

## Slide 6: Applications of Biochip Array Technology
• Clinical diagnostics (cardiac markers, endocrine disorders, infectious diseases)
• Toxicology screening (drugs of abuse, therapeutic drug monitoring)
• Research on cytokines, inflammatory biomarkers, and immunology
• Personalized medicine and health screening programs

## Slide 7: Conclusion
• Randox Biochip Array Technology offers a robust multiplex immunoassay platform
• Enables efficient, reproducible, and cost-effective testing
• Especially suited for clinical and toxicology applications
• Provides an integrated approach to biomarker analysis and routine diagnostics

## Slide 8: Toxicology Applications of Biochip Technology
• Drugs of abuse screening (opioids, cannabinoids, amphetamines, cocaine, benzodiazepines)
• Workplace drug testing and forensic toxicology
• Therapeutic drug monitoring for narrow therapeutic index drugs
• Rapid screening for multiple drug classes from a single sample
• Useful in emergency medicine, law enforcement, and occupational health